| TASK | Boiler |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| HAZARDS | Flying debris | ☐ | Heat / cold | ☒ | Electricity | ☐ |
|  | Cuts / laceration | ☐ | Dust | ☐ | Rollover | ☐ |
|  | Pinch / crush | ☐ | Noise / vibration | ☐ | Plant interaction | ☐ |
|  | High pressure | ☐ | Explosion | ☒ | Chemical | ☒ |
|  | Asphyxiation | ☒ | Fire | ☒ | Steam | ☒ |
| PPE REQUIRED |  |  |  |  |  |  |
| PRE-START CHECKS |  |  |  |  |  |  |
| - Ensure all personnel are trained and authorized to operate the boiler. - Inspect the boiler for any visible damage, leaks, or signs of wear. - Check that all valves, gauges, and controls are properly secured and functioning correctly. - Verify that the boiler water level is within the recommended range. - Confirm that fire extinguishing equipment is readily available in case of emergency. |  |  |  |  |  |  |
| SAFE OPERATING PROCEDURE |  |  |  |  |  |  |
| - Wear appropriate personal protective equipment (PPE) including safety glasses, gloves, and appropriate footwear. - Start up the boiler according to manufacturer's instructions, ensuring that all safety interlocks are engaged. - Monitor the boiler operation closely, checking for any abnormalities such as unusual noises or fluctuations in pressure or temperature. - Adjust boiler controls as necessary to maintain proper operating conditions. - Be aware of any leaks, spills, or steam releases around the boiler area and take appropriate action to contain and clean them up. - If any issues or errors occur during operation, shut down the boiler immediately and troubleshoot the problem before resuming. - After operation is complete, shut down the boiler and perform any necessary maintenance or cleaning tasks. |  |  |  |  |  |  |
| POST-OPERATION PROCEDURE |  |  |  |  |  |  |
| - Perform a visual inspection of the boiler for any damage or signs of wear, reporting any issues to the appropriate personnel. - Clean the boiler and surrounding area to remove any dirt, debris, or spilled fluids. - Check boiler water level and refill or adjust as necessary. - Store any unused fuel or chemicals in a designated area away from the boiler. |  |  |  |  |  |  |