| TASK | Generator |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| HAZARDS | Flying debris | ☐ | Heat / cold | ☐ | Electricity | ☒ |
|  | Cuts / laceration | ☒ | Dust | ☐ | Rollover | ☐ |
|  | Pinch / crush | ☒ | Noise / vibration | ☒ | Plant interaction | ☐ |
|  | High pressure | ☐ | Fire | ☒ | Exhaust | ☒ |
| PPE REQUIRED |  |  |  |  |  |  |
| PRE-START CHECKS |  |  |  |  |  |  |
| - Ensure all personnel are trained and authorized to operate the generator. - Inspect the generator for any visible damage, leaks, or signs of wear. - Check that all fuel and oil levels are adequate for operation. - Verify that the battery is fully charged and that all electrical connections are secure. - Confirm that fire extinguishing equipment is readily available in case of emergency. |  |  |  |  |  |  |
| SAFE OPERATING PROCEDURE |  |  |  |  |  |  |
| - Wear appropriate personal protective equipment (PPE) including safety glasses, gloves, and appropriate footwear. - Start up the generator according to manufacturer's instructions, ensuring that all safety interlocks are engaged. - Monitor the generator operation closely, checking for any abnormalities such as unusual noises or fluctuations in voltage or frequency. - Adjust generator controls as necessary to maintain proper operating conditions. - Be aware of any leaks, spills, or exhaust emissions around the generator area and take appropriate action to contain and clean them up. - If any issues or errors occur during operation, shut down the generator immediately and troubleshoot the problem before resuming. - After operation is complete, shut down the generator and perform any necessary maintenance or refueling tasks. |  |  |  |  |  |  |
| POST-OPERATION PROCEDURE |  |  |  |  |  |  |
| - Perform a visual inspection of the generator for any damage or signs of wear, reporting any issues to the appropriate personnel. - Clean the generator and surrounding area to remove any dirt, debris, or spilled fluids. - Check fuel and oil levels and refill or adjust as necessary. - Store any unused fuel or chemicals in a designated area away from the generator. |  |  |  |  |  |  |