| TASK | HDPE Butt Fusion |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| HAZARDS | Flying debris | ☐ | Heat / cold | ☒ | Electricity | ☒ |
|  | Cuts / laceration | ☐ | Dust | ☐ | Rollover | ☐ |
|  | Pinch / crush | ☐ | Noise / vibration | ☐ | Plant interaction | ☐ |
|  | High pressure | ☒ | Chemical | ☒ | Fire | ☒ |
| PPE REQUIRED |  |  |  |  |  |  |
| PRE-START CHECKS |  |  |  |  |  |  |
| - Ensure all personnel are trained and authorized to perform HDPE butt fusion. - Inspect the fusion machine for any visible damage, leaks, or signs of wear. - Check that the heating plate and facer are clean and free of any debris. - Verify that the fusion machine is properly calibrated and functioning correctly. - Confirm that fire extinguishing equipment is readily available in case of emergency. |  |  |  |  |  |  |
| SAFE OPERATING PROCEDURE |  |  |  |  |  |  |
| - Wear appropriate personal protective equipment (PPE) including safety glasses, gloves, and heat-resistant clothing. - Position the HDPE pipes in the fusion machine, ensuring proper alignment and support. - Start the fusion machine and allow it to warm up to the appropriate temperature. - Use the facer to remove any oxidized material from the pipe ends. - Heat the pipe ends evenly using the heating plate until they reach the specified fusion temperature. - Align the pipe ends and apply pressure to fuse them together, maintaining pressure until the joint cools and solidifies. - Monitor the fusion process closely, ensuring that all parameters are within the specified range. - If any issues or errors occur during fusion, stop the process immediately and troubleshoot the problem before resuming. |  |  |  |  |  |  |
| POST-OPERATION PROCEDURE |  |  |  |  |  |  |
| - Allow the fused joint to cool completely before handling or testing. - Inspect the fused joint for any defects or signs of incomplete fusion. - Clean the fusion machine and surrounding area to remove any debris or spilled materials. - Record fusion parameters and any relevant data for quality control purposes. - Store fusion machine and accessories in a designated area, ensuring they are protected from damage and unauthorized use. |  |  |  |  |  |  |