| TASK | Irrigation system |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| HAZARDS | Flying debris | ☐ | Heat / cold | ☐ | Electricity | ☒ |
|  | Cuts / laceration | ☐ | Chemical | ☐ | Tip Over | ☐ |
|  | Pinch / crush | ☐ | Noise / vibration | ☐ | Plant interaction | ☐ |
|  | High pressure | ☒ | Slips | ☒ | Entrapment | ☐ |
| PPE REQUIRED |  |  |  |  |  |  |
| PRE-START CHECKS |  |  |  |  |  |  |
| - Inspect the irrigation system for any visible damage, leaks, or blockages. - Check the condition of pipes, valves, and sprinklers. - Ensure all electrical connections are secure and waterproof. - Verify that water sources and pressure levels are appropriate for operation. |  |  |  |  |  |  |
| SAFE OPERATING PROCEDURE |  |  |  |  |  |  |
| - Ensure all personnel are trained and authorized to operate the irrigation system. - Wear appropriate personal protective equipment (PPE), including gloves, eye protection, and waterproof boots. - Follow manufacturer's guidelines for safe operation, including setting watering schedules and adjusting water flow. - Be aware of surroundings and hazards, such as trip hazards, slippery surfaces, and electrical risks. - Use caution when handling chemicals or fertilizers to avoid skin or eye contact. |  |  |  |  |  |  |
| POST-OPERATION PROCEDURE |  |  |  |  |  |  |
| - Shut off the irrigation system and drain any remaining water from pipes and hoses. - Clean and store all equipment properly to prevent damage and corrosion. - Inspect the system for any damage or malfunctions and report any issues to maintenance personnel. - Secure the area and remove any debris or obstacles to prevent accidents. - Document any maintenance or repairs performed on the irrigation system for future reference. |  |  |  |  |  |  |