| TASK | Lighting Tower |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| HAZARDS | Flying debris | ☐ | Heat / cold | ☐ | Electricity | ☒ |
|  | Cuts / laceration | ☐ | Dust | ☐ | Rollover | ☐ |
|  | Pinch / crush | ☐ | Noise / vibration | ☒ | Plant interaction | ☐ |
|  | High pressure | ☐ | Fire | ☒ | Trip / fall hazard | ☒ |
| PPE REQUIRED |  |  |  |  |  |  |
| PRE-START CHECKS |  |  |  |  |  |  |
| - Ensure all personnel are trained and authorized to operate the lighting tower. - Inspect the lighting tower for any visible damage, leaks, or signs of wear. - Check that the fuel tank is filled to the required level, with the fuel line having no leaks. - Verify that the lighting fixtures are clean, properly positioned, and in good working condition. - Test the electrical connections and ensure that all switches and controls are functioning correctly. - Confirm that fire extinguishing equipment is readily available in case of emergency. |  |  |  |  |  |  |
| SAFE OPERATING PROCEDURE |  |  |  |  |  |  |
| - Wear appropriate personal protective equipment (PPE) including high-visibility clothing, gloves, and safety boots. - Start up the lighting tower according to manufacturer's instructions, allowing it to warm up and stabilize. - Position the lighting tower in the desired location, ensuring stability and clearance. - Activate the lighting fixtures and adjust the angle and direction of the lights as needed to provide adequate illumination. - Monitor the lighting tower during operation, ensuring that all lights remain functional and that there are no signs of overheating or malfunction. - Be aware of any unusual noises, vibrations, or odors during operation and investigate the cause if necessary. - If any issues or errors occur during operation, stop the lighting tower immediately and troubleshoot the problem before resuming. - After operation is complete, shut down and disconnect the lighting tower. |  |  |  |  |  |  |
| POST-OPERATION PROCEDURE |  |  |  |  |  |  |
| - Perform a visual inspection of the lighting tower for any damage or signs of wear, reporting any issues to the appropriate personnel. - Refuel the lighting tower if necessary and store fuel containers in a designated area away from ignition sources. - Clean the lighting fixtures and lenses to remove any dirt or debris that may have accumulated during operation. - Store the lighting tower and accessories in a designated area, ensuring they are protected from damage and unauthorized use. |  |  |  |  |  |  |