| TASK | Pump |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| HAZARDS | Flying debris | ☐ | Heat / cold | ☐ | Electricity | ☒ |
|  | Cuts / laceration | ☒ | Dust | ☐ | Rollover | ☐ |
|  | Pinch / crush | ☒ | Noise / vibration | ☐ | Plant interaction | ☐ |
|  | High pressure | ☐ | Fire | ☒ | Chemical | ☒ |
| PPE REQUIRED |  |  |  |  |  |  |
| PRE-START CHECKS |  |  |  |  |  |  |
| - Ensure all personnel are trained and authorized to operate the pump. - Inspect the pump for any visible damage, leaks, or signs of wear. - Check that all valves, gauges, and connections are secured and functioning. - Verify that the pump is properly lubricated and that all fluid is at correct levels. - Confirm that fire extinguishing equipment is readily available in case of emergency. |  |  |  |  |  |  |
| SAFE OPERATING PROCEDURE |  |  |  |  |  |  |
| - Wear appropriate personal protective equipment (PPE) including safety glasses, gloves, and appropriate footwear. - Start up the pump according to manufacturer's instructions, ensuring that all safety interlocks are engaged. - Open the necessary valves and adjust the pump controls to achieve the desired flow rate and pressure. - Monitor the pump operation closely, checking for any abnormalities such as unusual noises or vibrations. - Be aware of any leaks or spills around the pump area and take appropriate action to contain and clean them up. - If any issues or errors occur during operation, stop the pump immediately and troubleshoot the problem before resuming. - After operation is complete, shut down the pump and close all valves to prevent leaks or backflow. |  |  |  |  |  |  |
| POST-OPERATION PROCEDURE |  |  |  |  |  |  |
| - Perform a visual inspection of the pump for any damage or signs of wear, reporting any issues to the appropriate personnel. - Clean the pump and surrounding area to remove any dirt, debris, or spilled fluids. - Check fluid levels and refill or top up as necessary. - Store any unused hoses or accessories in a designated area away from the pump. |  |  |  |  |  |  |